# Computed Tomography versus Radiography for the detection of rib and skull fractures in Paediatric Suspected Physical Abuse: A Systematic Review

# European Journal of Pediatrics

# Corresponding author

Ahmed Mohammed

e-mails: 121129186@umail.ucc.ie

a.abdulahad@tu.edu.sa

Telephone: +966553032987

+353 852697240

Table S1. Imaging protocol

| Study | Protocol |  | Observers |
| --- | --- | --- | --- |
|  | X-ray | CT |  |
| Wootton-Gorges et al. 2008 [18] | Not reported | Chest CT or abdomen CT | 2 paediatric radiologists |
| Karmazyn et al. 2022 [46] | high-resolution digital radiography (Philips Healthcare Digital Diagnost) - pixel size 143 μm - distance 102 cm, - AP view: kVp 66 – 75, mAs 2, - oblique view: kVp 60 - 75, mAs 4 | - G1: Brilliance iCT256 (Philips Medical Systems, Cleveland, OH) kVp 80 (with contrast) - G2: SOMATOM Force (Siemens Healthcare, Forchheim, Germany) with automated kilovoltage selection (low dose CT) - G3: (Siemens CARE KV, Siemens Healthcare), with 100 kV as the reference (low dose with tin filter) | 2 paediatric radiologists, with 15 and 9 years’ experience |
| Hong et al. 2011 [35] | AMX-4 series mobile X-ray system (GE Medical Systems, Milwaukee) - kVp 55 – 77, mAs 60. | Philips Gemini GXL CT scanner (Eindhoven, The Netherlands) - kVp 120, mA 355 - Slice thickness 0.8 mm, 0.4 mm overlap - Rotation time 0.75 s, Pitch 0.938 Or GE LightSpeed Ultra CT scanner - kVp 120, mAs 320 - Slice thickness 0.7 mm, 0.4 mm overlap - Rotation time 0.8 s, Pitch∼0.53 Or GE Discovery HD 750 CT scanner, - kVp 120, mAs 355 - Slice thickness 0.625 mm, 0.4 mm overlap - Rotation time 0.8 s, Pitch 0.531 | radiologist with 22 years of experience, |
| Forbes-Amrhein et al. 2022 [45] | high-resolution digital radiography, - Philips Healthcare Digital Diagnost (pixel size 143 µm; Philips, Best, Netherlands) - Or Canon DR cassette CXDI-31160 (pixel size 160 µm; Canon USA, Melville, NY) | - Slice thickness 0.9 to 2.5 mm, | 2 radiologists with 3 and 7 years of experience |
| Sanchez et al. 2018 [19] | Not reported | 100 Kvp, 15 mA rotation time of 0.5 seconds pitch of 1.0 | Not reported |
| Martin et al. 2020 [22] | Not reported | 64-slice GE LightSpeed CT scanner - kVp 100–120, mAs 120–160 - Slice thickness 0.625–2 mm | 2 consultant radiologists with 15 and 16 years’ experience |
| Sharp et al. 2018 [24] | Not reported |  |  |
| Culotta et al. 2017 [36] | - kVp 58 - 74.8 - mAs 1 - 5.1 depending on equipment type and image orientation | Aquilion ONE™ 320 Toshiba - kVp 120, mAs 150 – 250 - gantry rotation time 500-ms | 2 radiologists of 18 years in practice post-fellowship |
| Cosgrave et al. 2022 [47] | Not reported | - multiplanar CT head with 3-D reconstructions using a 128-slice Siemens (Erlangen, Germany) - Or Philips Brilliance (Best, the Netherlands) scanner | 2 consultant paediatric radiologists |
| Pennell et al. 2021 [42] | GE FlashPad - KVp 60 – 66, mAs 2 - 3.2 | Low-dose non-contrast pediatric head CT performed on a 80-slice Toshiba Aquilion Prime CT scanner - kVp 100, mAs 150–160 - Gantry rotation time 0.4 s - Slice thickness 0.5 – 2 mm | 2 paediatric radiologists with 8 and 11 years experience |

Table S2. Search strategy

| Database | Terms |  |  | N of studies |
| --- | --- | --- | --- | --- |
|  | P | I | R |  |
| EMBASE | Child abuse or non accidental injury or suspected physical abuse | Spiral CT Scan or Helical Computed Tomography or Computed Tomography | Skeletal survey or Radiography or X-ray or Digital Radiography. | 565 |
| PubMed | Child abuse or child neglect or child mistreatment or Pediatric Emergency Medicine | Computer X-Ray tomography or Transmission Computed Tomography or computer X Ray tomography or CT or CAT scan or Spiral CT Scan or Helical Computed Tomography or Tomography, X-Ray Computed or Computed Tomography or CT X Ray | Radiography or X-ray or Digital Radiography. | 2067 |
| SCOPUS | Child abuse or child mistreatment or non accidental injury or suspected physical abuse | CT or CAT scan or Spiral CT Scan or Helical Computed Tomography or Tomography, X-Ray Computed or Computed Tomography | Skeletal survey or Radiography or X-ray or Digital Radiography. | 688 |
| WOS | Child abuse or non accidental injur* or suspected physical abuse | CT or Tomography, X-Ray Computed or Computed Tomography | Skeletal survey or CXR or SXR or Radiography or X-ray or Digital Radiography. | 758 |
| CINHAL | Child abuse or non accidental injury or suspected physical abuse | CT or Tomography, X-Ray Computed or Computed Tomography | Skeletal survey or SS or CXR or SXR or Radiography or X-ray or Digital Radiography. | 602 |
| Cochrane | Child abuse or child neglect or Pediatric Emergency Medicine or non accidental injur* | Transmission Computed Tomography or CT or CAT scan or Tomography or Computed Tomography | CXR or SXR or Radiography or X-ray or Digital Radiography. | 375 |
| P, Population; I, Index test; R, Reference standard. *, allows capture ‘injury’, ’injuries’ and also ‘injured’ |  |  |  |  |