| Wind | Value | Unit | Mussel | Value | Unit | Total | Unit |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Total capacity | 380 | MW | Total produced | 110000 | Tonne |  |  |
| Energy generated | 30405 | GWh | Mussel price (consumption size) | 1000 | €/Tonne |  |  |
| Electricity price sold | 150.3 | €/MWh | Mussel price (half-grown) | 700 | €/Tonne |  |  |
|  |  |  | Mussel price (seed) | 250 | €/Tonne |  |  |
| Levelised cost, wind | 136.11 | €/MWh | Levelised cost, aquaculture | 909.67 | €/Tonne |  |  |
| CAPEX | 1390 | € m | CAPEX | 59 | € m | 1449 | €m |
| OPEX | 798 | € m | OPEX | 67 | € m | 865 | €m |
| DECEX | 89 | € m | DECEX | 2 | € m | 91 | €m |
| Cost of finance | 1918 | € m | Cost of finance | 83 | € m | 1991 | €m |
| Simple payback |  |  |  |  |  | 7.2 | Years |
| Discount rate |  |  |  |  |  | 8.9% | - |
| Operating for |  |  |  |  |  | 20.0 | Years |
| Payback |  |  |  |  |  | 14.1 | Years |
| NPV (yr 0) |  |  |  |  |  | 252.5 | € m |
| IRR |  |  |  |  |  | 10.8% | - |
| Annual jobs |  |  |  |  |  | 367 | FTE / year |

Table 3: Commercial results