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Fig. S1. Individual gastric profiles after the SmartPill® administration in three landrace pigs at different intake conditions. (P3, P44 fasted; P6 fed). Post mortem investigations detected that the capsule was remained in the stomach of pigs.


Table S1 Summary of the meal type and study protocols, used in the assessment of gastrointestinal transit with the SmartPill® in humans, dogs and pigs.
	
	Postprandial study conditions 

	
	Kcal
	Kcal/ kg body weight ratio
	Preparation
	Time of food intake before SmartPill®  administration
	Time of food intake after SmartPill®  administration

	Humans
	965
	13.8 
	non-homogenized
	30 min
	4.5 h

	Pigs
	444
	26.1 
	non-homogenized
	30 min
	8 h

	Dogs
	203
	11.3 
	‘Mastermix’
(9 mL/kg)
	5 min
	6 h
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