## Supplementary file 1

## Device specifications detailing each sensor component’s manufacturer, accuracy, and response time for the TUD backpack device

| Sensor | Range | Accuracy | Response Time/ Output Resolution | Approx. cost (USD) |
| --- | --- | --- | --- | --- |
| WXT520 Air Temperature | -52 °C to +60 °C | ± 0.3 °C at +20 °C | 0.1 °C | 2900 |
| WXT520 Relative Humidity | 0 to 100 % | ±3% RH @ 0 to 90% RH, ±5% RH @ 90 to 100% RH | 0.1 % RH |  |
| WXT520 Wind Speed | 0 to 60 m/s | ± 3 % at 10 m/s | 0.25 s / 0.1 m/s |  |
| WXT520 Wind Direction | 0° to 360° | ± 3° at 10 m/s | 0.25 s / 1° |  |
| SKS1110 | 0 to 5000 W/m² | ± 5 % | 1 mV per 100 W/m² | 363 |
| IR120 (4 sensors) | -25 °C to +60 °C | ±0.2 °C | 1 s / 0.01 °C | 1555 |
| GPS16X-HVS | 0 to 100 m | 95 % | 1 s / 0.1 m | 104 |
| CR1000X | - |  |  | 3628 |