Supplementary Table 1. PCR and qPCR conditions for the molecular detection of the different pathogens. ASF : African swine fever, PPR : Peste des petits ruminants, FMD : Foot-and-mouth disease, RVF : Rift valley fever, CCHF : Crimean Congo hemorrhagic fever.

| Pathogen | Primers / probes | PCR / QPCR conditions | Amplification cycle | References |
| --- | --- | --- | --- | --- |
| Plasmodium sp. | DW2/F TAATGCCTAGACGTATTCCTAGTTATCCAG DW4/R TGTTTGCTTGGGAGCTGTAATCATAATGTG CYTb1/F CTCTATTATTTAGTTAAAGCACA CYTb2/R ACAGAATAATCTCTAGCACC | PCR-1 1 tube Qiagen PCR Mix 12.5µl Solution Q 2.5µl Primer DW2/F(10pmol/µl) 0.2µl Primer DW4/R(10pmol/µl) 0.2µl Water 5.6µl DNA 4µl PCR-2 1 tube Water 15.2µl buffer 10X 2.5µl Mgcl2 50mM 1.25µl dNTP 2,5mM 2.5µl Primer CYTb1/F (25pmol/µl) 1.25µl Primer CYTb2/R (25pmol/µl) 1.25µl TAQ Invitrogen 0.1µl DNA (PCR-1) 1µl | 95°C; 15'. 94°C; 30". 60°C; 1'30; x35. 172°C; 1'30. 72°C; 10'. 10°C; 10'. 95°C; 5'. 94°C; 30". 45°C; 30"; x35. 72°C; 1'30. 72°C; 10'. 10°C; 10'. | (Ollomo et al. 2009) |
| Babesia sp. / Theileria sp. | Piro-A AATTACCCAATCCTGACACAGGG Piro-B TTAAATACGAATGCCCCCAAC | EVA Green 5x 2µl primer Piro-A (10pmol/µl) 0.5µl primer Piro-B (10pmol/µl) 0.5µl Water qsp10µl 6µl DNA 1µl | 95°; 12'. 95°; 10". 58°; 10"; X45. 72°; 40". 95°; 15". 58°; 1'; dissociation. 95°; 1''. 37°; 2'. | (Olmeda et al. 1997) |
| Leishmania sp. | RV1-CM-F CTTTTCTGGTCCTCCGGGTAGG RV1-CM-R CCACCCGGCCCTATTTTACACCAA Probe minicircle_prob_1 TTTTCGCAGAACGCCCCTACCCGC | Master mix 2X 10µl Primer RV1-CM-F (10 pmol/µl) 1.25µl Primer RV1-CM-R (10 pmol/µl) 1.25µl Probe minicircle_prob_1 0.25µl Water 5.25µl DNA 2µl | 95°C; 12'. 95°C; 10''; X45. 60°C; 30". 72°C; 1". 37°; 2'. | (Mary et al. 2004) |
| Brucella sp. | IS421_BRUC CGCTCGCGCGGTGGAT IS511_BRUC CTTGAAGCTTGCGGACAGTCACC | EVA Green 5x 2µl primer IS421_BRUC (10pmol/µl) 0.3µl primer IS511_BRUC (10pmol/µl) 0.3µl Water qsp10µl 6.4µl DNA 1µl | 95°; 12'. 95°; 10". 60°; 10"; X45. 72°; 40". 95°; 10". 60°; 1'; dissociation. 95°; 1''. 37°; 2'. | (Bounaadja et al. 2009) |
| Mycobacterium sp. | RD4/F TGTGAATTCATACAAGCCGTAGTCG RD4/R CCCGTAGCGTTACTGAGAAATTGC | EVA Green 5x 2µl primer RD4/F (10pmol/µl) 0.4µl primer RD4/R (10pmol/µl) 0.4µl Water qsp10µl 5.2µl DNA 2µl | 95°; 12'. 95°; 10". 58°; 10"; X40. 72°; 40". 95°; 10". 58°; 1'; dissociation. 95°; 1''. 37°; 2'. | (King et al. 2015) |
| ASF virus | ASF–VP72-F 5'-CCCAGGRGATAAAATGACTG-3' ASF–VP72-R 5'-CACTRGTTCCCTCCACCGATA-3' UPL#162 5'-FAM-GGCCAGGA-dark quencher-3' | water 6,2µl Buffer 2x 10µl F (10µM) 0.8µl R (10µM) 0.8µl P (10µM) 0.2µl DNA 2µl | 95°; 300"; (ramp 4.4°C/s). 95°; 15''; X45. 60° (single); 45''. 95°; 15". 65°; 30". 95°; 1". 37°; 120". | Kit SensiFAST Genotyping Lo-ROX Mix, Bioline |
| PPR virus | NPPRf 5'-GAGTCTAGTCAAAACCCTCGTGAG-3' NPPRr 5'-TCTCCCTCCTCCTGGTCCTC-3 ' NPPRp 5'-FAM-CGGCTGAGGCACTCTTCAGGCTGC-BHQ1-3' | Water 1.4µL Buffer 2x 15µL F (10µM) 1µL R (10µM) 1µL P (10µM) 1µL Taq 0.6µL RNA 10µl | 50°; 1800"; (ramp 4.4°C/s); Pre incubation. 95°; 120"; (ramp 4.4°C/s). 95°; 15''; X45; (ramp 4.4°C/s); Amplification 2-step. 60° (single); 45''; (ramp 2.2°C/s). 95°; 15"; (ramp 4.4°C/s); Melting. 60°; 30"; (ramp 2.2°C/s). 95° (continuous); 1". 37°; 120"; (ramp 1.0°C/s); Cooling. | (Batten et al. 2011) |
| FMD virus | FMDV-3D/F ACTGGGTTTTACAAACCTGTGA FMDV-3D/R GCGAGTCCTGCCACGGA | EVA Green 5x 4µl primer FMDV-3D/F (10pmol/µl) 1µl primer FMDV-3D/R (10pmol/µl) 1µl Water qsp20µl 11µl cDNA 3µl | 95°; 12'. 95°; 15". 57°; 20"; X40. 72°; 20". 95°; 15". 57°; 1'; dissociation. 95°; 1". 37°; 2'. | (Gorna et al. 2016) |
| Bluetongue virus | BTV_S5_F_1-19 5'-GGCAACYACCAAACATGGA-3' BTV_S5_R_76-57 5'-AAAGTYCTCGTGGCATTWGC-3' BTV_S5_P_49-27 5'-FAM-CYCCACTGATRTTGATTTTCTCAA-BHQ1-3' | Eau 0.7µl Buffer 2x 7.5µl Primer F (10µM) 0.5µl Primer R (10µM) 0.3µl P (10µM) 0.5µl Taq 0.5µl RNA 5 µl | 50°; 1800"; (ramp 4.4°C/s). 95°; 120"; (ramp 4.4°C/s). 95°; 15''; X45. 50° (single); 45''. 95°; 15". 60°; 30". 95° (continuous); 1". 37°; 120". | (Toussaint et al. 2007) |
| RVF virus | RVFL-2912 F GGTGAAAATTCCTGAGACACATGG RVFL-2981 R ACTTCCTTGCATCATCTGATG RVFL-probe-2950 FAM-CAATGTAAGGGGCCTGTGTGGACTTGTG-BHQ1 | Master mix 2X 10µl RVFL 2912 F (10µM) 1µl RVFL 2981 R (10µM) 1µl RVFL - probe - 2950 (10µM) 0.1µl Water 3.9 cDNA 4µl | 95°C; 12'. 95°C; 15''; X45. 60°C; 15". 40°C; 30". 37°; 2'. | (Bird et al. 2007) |
| CCHF virus | CCHF-SF2 GGAVTGGTGVAGGGARTTTG CCHF-SR2 CADGGTGGRTTGAARGC CCHF-N2 6FAM-CAARGGCAARTACATMAT-MGBNGQ | Master mix 2X 10µl CCHF SF2 (10µM) 2µl CCHF SR2 (10µM) 2µl CCHF N2 (10µM) 0.4µl Water 1.6µl cDNA 4µl | 95°C; 12'. 95°C; 15''; X45. 60°C; 15". 40°C; 30". 37°; 2'. | (Koehler et al. 2018) |

Supplementary Table 2. Protocol for the Reverse Transcription of RNA into cDNA.

| Mix characteristics | Cycle | Reference |
| --- | --- | --- |
| TaqMan RT* Buffer 10X 2µl MgCl2 25mM 2µl dNTP 10mM 1µl Random hexamers 50µM 1µl OligodT 50µM 1µl Rnase Inhibitor (20U/µl) 0,4µl Reverse Transcriptase (50U/µl) 0,5µl Water 7,1µl RNA 5µl | 25° 10' 48° 30' 95° 5' 4° 30' | Gorna et al, 2016 |

* Taqman Reverse Transcriptase reagents (ref N8080234, Life Technologies).

References

Batten CA, Banyard AC, King DP et al. A real time RT-PCR assay for the specific detection of Peste des petits ruminants  virus. J Virol Methods 2011;171:401–4.

Bird BH, Bawiec DA, Ksiazek TG et al. Highly sensitive and broadly reactive quantitative reverse transcription-PCR assay  for high-throughput detection of Rift Valley fever virus. J Clin Microbiol 2007;45:3506–13.

Bounaadja L, Albert D, Chénais B et al. Real-time PCR for identification of Brucella spp.: a comparative study of IS711,  bcsp31 and per target genes. Vet Microbiol 2009;137:156–64.

Gorna K, Relmy A, Romey A et al. Establishment and validation of two duplex one-step real-time RT-PCR assays for  diagnosis of foot-and-mouth disease. J Virol Methods 2016;235:168–75.

King HC, Murphy A, James P et al. Performance of a Noninvasive Test for Detecting Mycobacterium bovis Shedding in  European Badger (Meles meles) Populations. J Clin Microbiol 2015;53:2316–23.

Koehler JW, Delp KL, Hall AT et al. Sequence optimized real-time reverse transcription polymerase chain reaction assay for detection of crimean-congo hemorrhagic fever virus. Am J Trop Med Hyg 2018;98:211–5.

Mary C, Faraut F, Lascombe L et al. Quantification of Leishmania infantum DNA by a real-time PCR assay with high  sensitivity. J Clin Microbiol 2004;42:5249–55.

Ollomo B, Durand P, Prugnolle F et al. A new malaria agent in African hominids. PLoS Pathog 2009;5, DOI: 10.1371/journal.ppat.1000446.

Olmeda AS, Armstrong PM, Rosenthal BM et al. A subtropical case of human babesiosis. Acta Trop 1997;67:229–34.

Toussaint JF, Sailleau C, Breard E et al. Bluetongue virus detection by two real-time RT-qPCRs targeting two different genomic segments. J Virol Methods 2007;140:115–23.